SECTION 05 50 60

PRE ENGINEERED MODULAR SUPPORT SYSTEMS

# pART 1 – general

## summary

### This Section includes the following:

#### Pre-engineered Modular Support System.

### Related Sections include the following:

#### Division 11 Section “Medical Equipment” for steel curb angles at edges of recessed dock leveler pits.

## performance requirements

### Structural Performance of Pre-Engineered Modular Support System:  Provide support system capable of withstanding the effects of loads and stresses within limits and under conditions specified in ANSI A14.3.

## ACTION SUBMITTALS

### Product Data:  For the following:

#### Pre-engineered modular support system.

### Shop Drawings:  Detail fabrication and erection of each metal fabrication indicated.  Include plans, elevations, sections, and details of metal fabrications and their connections.  Show anchorage and accessory items.

#### Provide templates for anchors and bolts specified for installation under other Sections.

#### Pre-engineered Modular Support System:  Furnish Shop Drawings indicating fabrication and installation details for pre-engineered modular support system, including connections to building structure, connections between components of system, lateral bracing, and attachments to other work.  Include plans, elevations, sections, details, and relationship to other work.

## informational submittals

### Design Data: Include structural analysis data for pre-engineered modular support system, including capacities of members, compression members (posts), and connectors; signed and sealed by the qualified professional engineer responsible for their preparation.  Calculations shall be submitted concurrently with Shop Drawings.

### Welding Certificates:  Copies of certificates for welding procedures and personnel.

### Qualification Data:  For firms and persons specified in "Quality Assurance" Article to demonstrate their capabilities and experience.  Include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

## quality assurance

### Fabricator Qualifications:  A firm experienced in producing metal fabrications similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

### Source Limitations:  Obtain pre-engineered modular support system, including all components and accessories, through one source from a single manufacturer.

### Welding:  Qualify procedures and personnel according to the following:

#### CSA W59 “Welded Steel Construction”

#### CSA W47.1, "Certification of companies for fusion welding of steel”

#### Certify that each welder has satisfactorily passed CSA qualification tests for welding processes involved and, if pertinent, has undergone recertification.

## project conditions

### Field Measurements:  Where metal fabrications are indicated to fit walls and other construction, verify dimensions by field measurements before fabrication and indicate measurements on Shop Drawings.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

#### Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating metal fabrications without field measurements.  Coordinate wall and other contiguous construction to ensure that actual dimensions correspond to established dimensions.

#### Provide allowance for trimming and fitting at site.

## coordination

### Coordinate installation of anchorages for metal fabrications.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

### Coordinate installation of steel weld plates and angles for casting into concrete that are specified in this Section but required for work of another Section.  Deliver such items to Project site in time for installation.

### Coordinate locations and installation of pre-engineered modular support system that may interfere with ceiling systems, including lighting, HVAC, and fire suppression system.

# products

## manufacturers

### Acceptable Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

#### Pre-engineered Modular Support System:

##### Hilti, Inc.

##### Substitutions:  None permitted.

## metals, general

### Metal Surfaces, General:  For metal fabrications exposed to view in the completed Work, provide materials with smooth, flat surfaces without blemishes.  Do not use materials with exposed pitting, seam marks, roller marks, rolled trade names, or roughness.

## ferrous metals

### Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

### Rolled-Steel Floor Plate:  ASTM A 786/A 786M, rolled from plate complying with ASTM A 36/A 36M or ASTM A 283/A 283M, Grade C or D.

### Malleable-Iron Castings:  ASTM A 47, Grade 32510 (ASTM A 47M, Grade 22010).

### Gray-Iron Castings:  ASTM A 48, Class 30(ASTM A 48M, Class 200), unless another class is indicated or required by structural loads.

### Cast-in-Place Anchors in Concrete:  Anchors of type indicated below, fabricated from corrosion-resistant materials capable of sustaining, without failure, the load imposed within a safety factor of 4, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

##### Threaded or wedge type; galvanized ferrous castings, either ASTM A 47(ASTM A 47M) malleable iron or ASTM A 27/A 27M cast steel.  Provide bolts, washers, and shims as needed, hot-dip galvanized per ASTM A 153/A 153M.

### Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

## pre-engineered modular support system

### General:  Factory-formed, field-assembled, modular support system; designed for attachment to either steel or concrete building structure, to serve as support for a variety of building components and systems that may not otherwise be indicated to be attached directly to building structure.  System shall include the following:

#### Girders:  Nominal 3 1/2-inch by 10 gage (90 mm x 3.5 mm), and 4 3/4-inch by 8 gage (120 mm x 4.0 mm) square galvanized steel tube, with continuous row of holes spaced at 1 15/16 inches (50 mm) on center for the entire length of each side to receive intersecting members, support system fasteners, and other attachment accessories.

#### Manufacturer’s complete range of connectors for attachment to structural steel building frame members.

#### Manufacturer’s complete range of connectors for attachment to structural concrete building frame members.

#### Manufacturer’s complete range of girder-to-girder connections, transitions, couplings, extensions, and cantilever braces.

#### Manufacturer’s complete line of attachment accessories, including U-bolts, pipe clamps, threaded rods, spacers, plastic end caps, etc.

#### System shall be fully compatible with and designed to directly interface with slotted channel framing as specified in Division 05 Section “Healthcare Metal Supports.”

### Basis of Design Product:  “MI Modular Support System” as manufactured by Hilti, Inc.

## fasteners

### General:  Provide Type 304 or 316 stainless-steel fasteners for exterior use and zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 5, where built into exterior walls.  Select fasteners for type, grade, and class required.

### Bolts and Nuts:  Regular hexagon-head bolts, ASTM A 307, Grade A(ASTM F 568M, Property Class 4.6); with hex nuts, ASTM A 563(ASTM A 563M); and, where indicated, flat washers.

### Anchor Bolts:  ASTM F 1554, Grade 36.

#### Provide hot-dip or mechanically deposited, zinc-coated anchor bolts where item being fastened is indicated to be galvanized.

### Eyebolts:  ASTM A 489.

### Machine Screws:  ASME B18.6.3(ASME B18.6.7M).

### Lag Bolts:  ASME B18.2.1(ASME B18.2.3.8M).

### Wood Screws:  Flat head, carbon steel, ASME B18.6.1.

### Plain Washers:  Round, carbon steel, ASME B18.22.1(ASME B18.22M).

### Lock Washers:  Helical, spring type, carbon steel, ASME B18.21.1(ASME B18.21.2M).

### Expansion Anchors:  Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

#### Material:  Carbon-steel components zinc-plated to comply with ASTM B 633, Class Fe/Zn 5.

### Toggle Bolts:  FS FF-B-588, tumble-wing type, class and style as needed.

## miscellaneous materials

### Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

### Shop Primer for Ferrous Metal:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with performance requirements in FS TT-P-664; selected for good resistance to normal atmospheric corrosion, compatibility with finish paint systems indicated, and capability to provide a sound foundation for field-applied topcoats despite prolonged exposure.

### Zinc-Rich Shop Primer for Ferrous Metal:  Organic zinc-rich primer, complying with SSPC-Paint 20 and compatible with topcoat.

#### Products:  Subject to compliance with requirements, provide one of the following:

##### Carboline 621; Carboline Company.

##### Aquapon Zinc-Rich Primer 97-670; PPG Industries, Inc.

##### Tneme-Zinc 90-97; Tnemec Company, Inc.

### Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

### Bituminous Paint:  Cold-applied asphalt mastic complying with SSPC-Paint 12, except containing no asbestos fibers, or cold-applied asphalt emulsion complying with ASTM D 1187.

### Concrete Materials and Properties:  Comply with requirements in Division 03 Section "Cast-in-Place Concrete" for normal-weight, air-entrained, ready-mix concrete with a minimum 28-day compressive strength of 3000 psi(20 MPa), unless otherwise indicated.

## fabrication, general

### Shop Assembly:  Preassemble items in shop to greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Use connections that maintain structural value of joined pieces.  Clearly mark units for reassembly and coordinated installation.

### Shear and punch metals cleanly and accurately.  Remove burrs.

### Ease exposed edges to a radius of approximately 1/32 inch(1 mm), unless otherwise indicated.  Form bent-metal corners to smallest radius possible without causing grain separation or otherwise impairing work.

### Weld corners and seams continuously to comply with the following:

#### Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

#### Obtain fusion without undercut or overlap.

#### Remove welding flux immediately.

#### At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

### Provide for anchorage of type indicated; coordinate with supporting structure.  Fabricate and space anchoring devices to secure metal fabrications rigidly in place and to support indicated loads.

### Cut, reinforce, drill, and tap metal fabrications as indicated to receive finish hardware, screws, and similar items.

### Allow for thermal movement resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening up of joints, overstressing of components, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

#### Temperature Change (Range):  120 deg F(67 deg C), ambient; 180 deg F(100 deg C), material surfaces.

### Form exposed work true to line and level with accurate angles and surfaces and straight sharp edges.

### Remove sharp or rough areas on exposed traffic surfaces.

### Form exposed connections with hairline joints, flush and smooth, using concealed fasteners where possible.  Use exposed fasteners of type indicated or, if not indicated, Phillips flat-head (countersunk) screws or bolts.  Locate joints where least conspicuous.

## loose bearing and leveling plates

### Provide loose bearing and leveling plates for steel items bearing on masonry or concrete construction.  Drill plates to receive anchor bolts and for grouting.

### Prime plates with zinc-rich primer.

## steel weld plates and angles

### Provide steel weld plates and angles not specified in other Sections, for items supported from concrete construction as needed to complete the Work.  Provide each unit with not less than two integrally welded steel strap anchors for embedding in concrete.

## miscellaneous framing and supports

### General:  Provide steel framing and supports that are not a part of structural-steel framework as necessary to complete the Work.

### Fabricate units from structural-steel shapes, plates, and bars of welded construction, unless otherwise indicated.  Fabricate to sizes, shapes, and profiles indicated and as necessary to receive adjacent construction retained by framing and supports.  Cut, drill, and tap units to receive hardware, hangers, and similar items.

#### Where units are indicated to be cast into concrete or built into masonry, equip with integrally welded steel strap anchors 1-1/4 inches(32 mm) wide by 1/4 inch(6 mm) thick by 8 inches(200 mm) long at 24 inches(600 mm) o.c., unless otherwise indicated.

#### Furnish inserts if units must be installed after concrete is placed.

#### Refer to Section 05451 for medical supports.

### Fabricate supports for operable partitions as follows:

#### Beams:  Continuous steel shapes of sizes indicated with attached bearing plates, anchors, and braces as indicated.  Drill bottom flanges of beams to receive partition track hanger rods; locate holes where indicated on operable partition Shop Drawings.

### Fabricate supports for ceiling-hung toilet partitions as follows:

#### Continuous steel shapes of sizes indicated with attached bearing plates, anchors, and braces as indicated.  Drill bottom flanges of beams to receive toilet partition hanger bolts; locate holes where indicated on toilet partition Shop Drawings.

### Galvanize miscellaneous framing and supports where indicated.

### Contractor’s Option:  In lieu fabricating miscellaneous framing and supports from steel shapes, plates, and bars as indicated above, Contractor may elect to construct these items utilizing pre-engineered modular support system components as specified in Article 2.4.

## FINISHES, GENERAL

### Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

### Finish metal fabrications after assembly.

## steel and iron finishes

### Galvanizing:  Hot-dip galvanize items as indicated to comply with applicable standard listed below:

#### ASTM A 123, for galvanizing steel and iron products.

#### ASTM A 153/A 153M, for galvanizing steel and iron hardware.

### Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with minimum requirements indicated below for SSPC surface-preparation specifications and environmental exposure conditions of installed metal fabrications:

#### Interiors (SSPC Zone 1A):  SSPC-SP 3, "Power Tool Cleaning."

### Apply shop primer to uncoated surfaces of metal fabrications, except those with galvanized finishes and those to be embedded in concrete, sprayed-on fireproofing, or masonry, unless otherwise indicated.  Comply with SSPC-PA 1, "Paint Application Specification No. 1," for shop painting.

#### Stripe paint corners, crevices, bolts, welds, and sharp edges.

# EXECUTION

## INSTALLATION, GENERAL

### Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing metal fabrications.  Set metal fabrications accurately in location, alignment, and elevation; with edges and surfaces level, plumb, true, and free of rack; and measured from established lines and levels.

### Fit exposed connections accurately together to form hairline joints.  Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Do not weld, cut, or abrade surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

### Field Welding:  Comply with the following requirements:

#### Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

#### Obtain fusion without undercut or overlap.

#### Remove welding flux immediately.

#### At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

### Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary for securing metal fabrications to in-place construction.  Include threaded fasteners for concrete and masonry inserts, toggle bolts, through-bolts, lag bolts, wood screws, and other connectors.

### Provide temporary bracing or anchors in formwork for items that are to be built into concrete, masonry, or similar construction.

### Protection of Dissimilar Materials:  When dissimilar materials come in contact, provide bituminous paint protective coating.  Conditions include, but are not limited to:

#### Ferrous metal to aluminum.

#### Ferrous metal or aluminum in contact with concrete.

#### Steel to copper.

## SETTING BEARING AND LEVELING PLATES

### Clean concrete and masonry bearing surfaces of bond-reducing materials, and roughen to improve bond to surfaces.  Clean bottom surface of plates.

### Set bearing and leveling plates on wedges, shims, or leveling nuts.  After bearing members have been positioned and plumbed, tighten anchor bolts.  Do not remove wedges or shims but, if protruding, cut off flush with edge of bearing plate before packing with grout.

#### Use nonshrink grout, either metallic or nonmetallic, in concealed locations where not exposed to moisture; use nonshrink, nonmetallic grout in exposed locations, unless otherwise indicated.

#### Pack grout solidly between bearing surfaces and plates to ensure that no voids remain.

## INSTALLING MISCELLANEOUS FRAMING AND SUPPORTS

### General:  Install framing and supports to comply with requirements of items being supported, including manufacturers' written instructions and requirements indicated on Shop Drawings, if any.

### Pre-engineered Modular Support System:  Install in accordance with approved Shop Drawings and manufacturer’s installation instructions.

#### Attachment Considerations:  Account for site peculiarities and expansion and contraction movements so there is no possibility of loosening, weakening and fracturing connection between units and building structure or between components themselves.

#### Make modifications only to meet field conditioned and ensure fitting of system components.

#### Rigidly fix and brace support structure against sway.

#### Accommodate allowable tolerances and deflections for structural members in installation.

#### Coordinate with reflected ceiling plan and other items indicated to be placed in or above ceiling to ensure support system does not interfere with or dislocate other items.

## ADJUSTING AND CLEANING

### Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

#### Apply by brush or spray to provide a minimum 2.0-mil(0.05-mm) dry film thickness.

### Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 09 Section "Painting."

### Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

END OF SECTION