- NOTE TO SPECIFIER:  The following specification text can be incorporated within relevant specification sections where a cable hanging system is desired for support of Mechanical, Electrical, Plumbing, or Fire Protection equipment, fixtures or piping/conduct runs.  Please refer to the Hilti Product Technical Guide Supplement for applicable loading capacities and technical data at www.hilti.com.

- PART 2 - PRODUCTS

  - HANGER AND SUPPORTS

Equipment support in "Description" paragraphs below require calculating and detailing at each use. Retain one two description paragraphs.  Gripple hanging systems are an alternative to welded, fabricated, supports.

        - Cable Hanging System Hilti “X-MW MX” and “X-MW ALH”. Combination of power-actuated fastener and wire rope with factory crimped end fixing on one end.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Hilti, Inc.; Hilti X-MW Mechanical / Electrical Clips and Hangers Product Technical Guide Supplement

        - Cable Hanging System Hilti “MW-EB” and “MW-LP”. Combination of cast in place or post installed Hilti fastener and wire rope with factory eyebolt or loop end fixing on one end

          - Basis-of-Design Product: Subject to compliance with requirements, provide Hilti, Inc.; Modular Support Technical Guide Supplement Wire Systems